## Slide 1
Major Project Stage-1 First Review Presentation
on
29-09-2026
Predictive Thermal Battery Management System
for Li-ion Battery Packs
Presented by
Ms. Muskan Sulathana
Roll No. : 23WH1A0208
Guide
Dr. M. Rupesh
Associate Professor,
EEE Department
Department of Electrical & Electronics Engineering
BVRIT HYDERABAD College of Engineering for Women
Notes: Good morning. I am Muskan Sulathana, and this is my first review. My project is a
battery management system for a small lithium-ion pack that predicts how fast each
cell should be warming up, and acts when a cell heats faster than its current explains. Since the zeroth review I have
finished the literature survey and the full design of the system, and I will take you
through both.

## Slide 2
2
Contents
1. Abstract
2. Problem Statement
3. Literature Survey
4. Problem Analysis / Research Gap
5. Objectives
6. Methodology
7. Block Diagram / Schematic Diagram
8. Hardware and Software Requirements
9. Project Timeline
10. References
Notes: This is the order I will follow. I start with a short summary of the project and the
problem, then the papers I studied and the gap they leave. After that I explain the
objectives, the method and the design, and finish with my progress and the plan for
the coming months.

## Slide 3
3
Abstract
Lithium-ion cells store a lot of energy in a small space. A cell that overheats can go into thermal runaway, where the heat it makes drives it hotter still.
Most low-cost battery protection boards act only on voltage and current, and treat temperature, if at all, as one fixed limit that is reached late.
This project builds a predictive thermal battery management system for a 4S1P pack of NCR18650GA cells, with two protection layers that work independently.
A hardware BMS gives over-voltage, under-voltage, over-current and short-circuit protection. An ESP32 measures every cell voltage, the pack current and the cell and air temperatures, and uses a thermal model to predict how fast each cell should heat.
When a cell heats faster than the current explains, or a reading crosses a limit, the ESP32 opens the charge or load relay and latches the fault. Readings are shown on a Wi-Fi dashboard that is not part of the safety chain.
Notes: This is the whole project in five points. The first two explain why the usual approach
is not enough. The third and fourth describe what I am building: a hardware layer that
protects the cells on its own, and an ESP32 layer that predicts how each cell should heat.
The last point is how it acts: it disconnects only the unsafe direction and keeps the
fault latched until someone checks it.

## Slide 4
4
Problem Statement
Lithium-ion packs are used in more and more devices, and one overheating cell can lead to fire or explosion through thermal runaway.
Most low-cost protection boards act only on voltage and current. Temperature, if it is checked at all, is compared with one fixed limit.
A fixed limit acts only once the cell is already hot. A cell that is steadily heating at a normal temperature passes it with no warning.
When protection depends on a single microcontroller, a firmware crash or a failed sensor can leave the pack unprotected.
A system is needed that watches the temperature trend, stops only the unsafe direction of current, and still protects the pack if the software fails.
Notes: The problem has three parts. The first is timing: a fixed temperature limit is a late
signal, because it tells you a cell is hot, never that it is becoming hot. The second
is dependence: if everything relies on one controller, one crash removes all
protection. The third is bluntness: most boards cut everything, even when only
charging is unsafe. My design tries to answer all three.

## Slide 5
5
Literature Survey
S.No | Paper Title | Outcomes | Limitation / Research Gap
[1] | Thermal runaway mechanism of lithium ion battery for electric vehicles: A review | Reviewed how thermal runaway starts and spreads through a chain of heat-producing reactions inside the cell. | Explains the mechanism, but does not give an on-board method to detect it early.
[2] | Battery management system: An overview of its application in the smart grid and electric vehicles | Showed that a BMS needs accurate state estimation and ways to protect the battery from hazardous conditions. | Focuses on state-of-charge and state-of-health estimation, not on early warning from temperature.
[3] | Protection devices in commercial 18650 lithium-ion batteries | Opened four commercial 18650 cells. Only the current interrupt device and the top vent are fitted in every cell. | These are last-resort devices inside the cell. Pack-level monitoring and early warning are not covered.
[4] | Advanced fault diagnosis for lithium-ion battery systems: A review of fault mechanisms, fault features, and diagnosis procedures | Reviewed internal battery faults, sensor faults and actuator faults, and how each one can be diagnosed. | A review only. It does not build or test a low-cost diagnostic system.
[5] | A critical review of thermal runaway prediction and early-warning methods for lithium-ion batteries | Grouped early-warning methods into electrochemistry-based, big-data and artificial intelligence methods. | The groups it describes rely on detailed models, large data sets or AI training, not a simple on-board check.
Notes: These are the first five papers. The first explains the physics of thermal runaway. The
next three set out what a battery management system should do and what can go wrong,
including the point that the protection inside an 18650 cell is only a last resort. The
fifth is a review of early-warning methods, and it shows that most of them need detailed
models, large data sets or artificial intelligence.

## Slide 6
6
Literature Survey (contd.)
S.No | Paper Title | Outcomes | Limitation / Research Gap
[6] | An online data-driven fault diagnosis and thermal runaway early warning for electric vehicle batteries | Found the cell heading for thermal runaway before it happened, using voltage and temperature data from real vehicles. | Compares many cells statistically, which suits large EV packs rather than a four-cell pack.
[7] | A neural network based method for thermal fault detection in lithium-ion batteries | A neural network predicts the cell surface temperature. A large gap between prediction and reading flags a fault. | Needs neural network training and retraining, which is heavy for a low-cost microcontroller.
[8] | A combined data-driven and model-based algorithm for accurate battery thermal runaway warning | Combined K-Means clustering with the Bernardi heat equation and warned 25 minutes before thermal runaway. | Needs training data and fitted parameters. Its 1 °C/s limit confirms runaway; it is not an early warning.
[9] | Online parameterization of lumped thermal dynamics in cylindrical lithium ion batteries for core temperature estimation and health monitoring | Showed that only the surface temperature can be measured, while the core can be hotter, and estimated the core. | Needs online parameter identification, and was tested on one 26650 LFP cell, not an 18650 pack.
[10] | Cloud-based battery condition monitoring platform for large-scale lithium-ion battery energy storage systems using internet-of-things (IoT) | Sent battery module data over IoT links to Google Cloud, where the cell states were worked out. | Depends on the cloud and a network link. Protection has to keep working when Wi-Fi is lost.
Notes: These are the next five. Papers six to eight are actual warning methods. They work,
but they rely on comparing many cells, on a trained neural network, or on fitted models.
Paper eight is often quoted for a limit of one degree per second, but in that paper it
is the rule used to confirm that runaway has already happened, not an early warning.
Paper nine shows that a sensor on the surface always reads cooler than the core, and
paper ten moves the analysis to the cloud, which fails when the network does.

## Slide 7
7
Problem Analysis
Existing studies explain how thermal runaway builds up through heat-producing reactions [1], and show the cell core can be hotter than its surface [9].
Early-warning methods mostly rely on detailed models, large data sets, neural networks or the cloud [5]–[8], [10].
The protection board used here acts on voltage and current only. It does not watch temperature at all.
Research Gap
A simple method is needed that spots an abnormal temperature rise early, using only cell-surface sensors and a low-cost microcontroller.
The early warning must be backed by protection that still works if the controller, a sensor or the network fails [4].
Charging and discharging should be cut off separately, so that only the unsafe direction is stopped.
Notes: Putting the papers together, the analysis is this. We understand the physics well, and
there are clever warning methods, but they all need something a small pack does not
have: many cells to compare, trained models or a cloud connection. And the cheap
protection boards that small packs do have ignore temperature entirely. So the gap is a
simple trend-based warning that runs on the board, backed by protection that does not
depend on it.

## Slide 8
8
Objectives
To study thermal runaway in lithium-ion cells and the methods used to detect it early.
To design a two-layer protection system: an independent hardware BMS, and an ESP32 supervisor that can disconnect charging and discharging separately.
To measure every cell voltage, the pack current, four cell temperatures and the air temperature accurately, using an ADS1115, an INA226 and NTC thermistors.
To predict each cell's heating with a thermal model, and act on heating the current cannot explain before any fixed temperature limit is reached, with every trip latched.
To show live readings and faults on a Wi-Fi dashboard, while every safety function keeps working without Wi-Fi.
Notes: These five objectives map directly onto the project timeline later in the talk. The
first two are about understanding the problem and designing the answer, and both are
done. The third and fourth are the hardware and firmware work for the coming months.
The last one makes the system visible, but I have deliberately kept it out of the
safety chain.

## Slide 9
9
Methodology
Notes: This is how the controller works, five times every second. It reads the four cell taps,
the pack current, the four cell temperatures and the air temperature, removes noise with
a median filter and a ten-second low-pass filter, and works out the rate of temperature
rise by fitting a straight line over the last thirty seconds. Then it predicts. A thermal
model of each cell, with a Kalman filter, estimates the core temperature and the abnormal
heat in watts: heat the current cannot explain, the early sign of a fault. Every ten
seconds it forecasts each cell's temperature five minutes ahead, and when that time comes
it checks the forecast against the real reading. It also compares the cells with each
other, checks each cell's self-discharge at rest, and works out the safe current.
Before trusting any reading it checks that the sensors are plausible, then compares
everything with the trip and warning limits. A trip opens only the relay for the unsafe
direction and stays latched until a manual reset.

## Slide 10
10
Block Diagram
Notes: The design has two layers. Layer A, at the top, is a hardware BMS board connected
directly to the cells. It handles over-voltage, under-voltage, over-current and short
circuit on its own, and it keeps working even if the ESP32 or the Wi-Fi fails. Layer B
is the ESP32 supervisor. It reads the ADS1115 for the cell voltages, the INA226 for the
current and five thermistors for temperature, one on each cell and one in the air, and
it drives two relays that connect the
load and the charger separately.

## Slide 11
11
Schematic Diagram
The hardware BMS protects the cells on its own, even if the ESP32 or Wi-Fi fails.
Each relay is normally open and held off by a pull-up, so a reset disconnects both branches.
Notes: This is the power path. The cells connect to the hardware BMS through five balance taps.
The protected positive goes through a 7.5 ampere fuse and a 5 milliohm shunt, where the
INA226 measures the current, and then to the load and the charger. Each branch has its
own relay in the negative return. Both relays are normally open and held off by
pull-ups, so if the ESP32 resets or crashes, both branches disconnect.

## Slide 12
12
Hardware and Software Requirements
Type | Item | Used for
Hardware | ESP32-WROOM-32 DevKit | Sensing, thermal prediction, relays, Wi-Fi
Hardware | 4 × NCR18650GA 3300 mAh | The 4S1P pack, with a 16.8 V 1.5 A charger
Hardware | 4S 20 A hardware BMS | Voltage, current and short-circuit protection
Hardware | ADS1115 16-bit ADC | The four cell-tap voltages
Hardware | INA226 with 5 mΩ shunt | Pack current, charging and discharging
Hardware | 5 × NTC 10 kΩ B3950 | Temperature of each cell and of the air
Hardware | 2-channel 5 V relay module | Separate charge and load disconnect
Hardware | LM2596, 7.5 A fuse, buzzer | 5 V supply, wiring protection, local alarm
Software | ESP-IDF with C++ | Firmware framework and language
Software | FreeRTOS | Sensor, safety and telemetry tasks
Software | HTML, CSS, JavaScript | The Wi-Fi dashboard
Software | FreeCAD, Git and GitHub | Enclosure model, version control
Notes: This is everything the project uses. On the hardware side the main parts are the ESP32,
the four cells, the hardware BMS board, the ADS1115 for accurate cell voltages, the
INA226 for current and the five thermistors. The relay module gives the separate charge
and load control. On the software side the firmware is written in C++ on ESP-IDF, with
FreeRTOS running the sensing, safety and telemetry work as separate tasks.

## Slide 13
13
Project Timeline
Activity | Month 1 | Month 2 | Month 3 | Month 4 | Month 5
Objective 1: Literature Survey & System Study | ✓ | ✓ |  |  | 
Objective 2: Two-Layer Design & Component Selection | ✗ | ✓ |  |  | 
Objective 3: Sensing Hardware, Pack Assembly & Calibration | ✗ | ✗ |  |  | 
Objective 4: Thermal Prediction & Safety State Machine | ✗ | ✗ |  |  | 
Objective 5: Wi-Fi Dashboard, Testing & Documentation | ✗ | ✗ |  |  | 
✓ = Completed
✗ = Yet to be done
Notes: This is where I am. The literature survey was done over the first two months, and the
two-layer design and component selection were finished in the second month. The
remaining three objectives are the build: assembling and calibrating the sensing
hardware, writing and testing the firmware, and then the dashboard, full testing and
documentation.

## Slide 14
14
References
[1] X. Feng, M. Ouyang, X. Liu, L. Lu, Y. Xia, and X. He, “Thermal runaway mechanism of lithium ion battery for electric vehicles: A review,” Energy Storage Mater., vol. 10, pp. 246–267, Jan. 2018, doi: 10.1016/j.ensm.2017.05.013.
[2] H. Rahimi-Eichi, U. Ojha, F. Baronti, and M.-Y. Chow, “Battery management system: An overview of its application in the smart grid and electric vehicles,” IEEE Ind. Electron. Mag., vol. 7, no. 2, pp. 4–16, Jun. 2013, doi: 10.1109/MIE.2013.2250351.
[3] B. Xu, L. Kong, G. Wen, and M. G. Pecht, “Protection devices in commercial 18650 lithium-ion batteries,” IEEE Access, vol. 9, pp. 66687–66695, 2021, doi: 10.1109/ACCESS.2021.3075972.
[4] X. Hu, K. Zhang, K. Liu, X. Lin, S. Dey, and S. Onori, “Advanced fault diagnosis for lithium-ion battery systems: A review of fault mechanisms, fault features, and diagnosis procedures,” IEEE Ind. Electron. Mag., vol. 14, no. 3, pp. 65–91, Sep. 2020, doi: 10.1109/MIE.2020.2964814.
[5] X. Zhang, S. Chen, J. Zhu, and Y. Gao, “A critical review of thermal runaway prediction and early-warning methods for lithium-ion batteries,” Energy Mater. Adv., vol. 4, Art. no. 0008, 2023, doi: 10.34133/energymatadv.0008.
Notes: These are the first five references, in IEEE style, numbered as in the survey tables.

## Slide 15
15
References (contd.)
[6] Z. Sun et al., “An online data-driven fault diagnosis and thermal runaway early warning for electric vehicle batteries,” IEEE Trans. Power Electron., vol. 37, no. 10, pp. 12636–12646, Oct. 2022, doi: 10.1109/TPEL.2022.3173038.
[7] O. Ojo, H. Lang, Y. Kim, X. Hu, B. Mu, and X. Lin, “A neural network based method for thermal fault detection in lithium-ion batteries,” IEEE Trans. Ind. Electron., vol. 68, no. 5, pp. 4068–4078, May 2021, doi: 10.1109/TIE.2020.2984980.
[8] Q. Chen, Y. He, N. Fang, and G. Yu, “A combined data-driven and model-based algorithm for accurate battery thermal runaway warning,” Sensors, vol. 24, no. 15, Art. no. 4964, Jul. 2024, doi: 10.3390/s24154964.
[9] X. Lin et al., “Online parameterization of lumped thermal dynamics in cylindrical lithium ion batteries for core temperature estimation and health monitoring,” IEEE Trans. Control Syst. Technol., vol. 21, no. 5, pp. 1745–1755, Sep. 2013, doi: 10.1109/TCST.2012.2217143.
[10] A. Adhikaree, T. Kim, J. Vagdoda, A. Ochoa, P. J. Hernandez, and Y. Lee, “Cloud-based battery condition monitoring platform for large-scale lithium-ion battery energy storage systems using internet-of-things (IoT),” in Proc. IEEE Energy Convers. Congr. Expo. (ECCE), 2017, pp. 1004–1009, doi: 10.1109/ECCE.2017.8095896.
Notes: These are references six to ten. Seven of the ten are IEEE publications.

## Slide 16
16
Thank You
Questions are welcome
Notes: That is the end of my presentation. Thank you for listening. I am happy to take
questions on the circuit, the choice of threshold, or the schedule.